502.43 Major Subdivisions

Any subdivision not meeting the requirements of Section 502.42 shall be considered   as a major plat and subject to a two step review process; 1) review of the preliminary plat, and 2) review of the final plat.

502.44 	The Preliminary Plat

The purpose of the preliminary plat is to provide a graphic statement of the                                         proposed development of a tract of land.  No work shall be permitted on land to be                             subdivided until the preliminary plat has been approved by the Planning                                               Commission.  The preliminary plat is “preliminary” in the sense that the Planning                                 Commission may make recommendations for improving the design or improvement                             standards before they become finalized on the land.  Upon approval of the                                           preliminary plat by the Planning Commission, the developer is authorized to                                        proceed with the development of the approved plan and the construction of public                               facilities.  If the proposed subdivision is to be constructed in more than one phase,                               the developer shall show the entire proposed development on the preliminary plat.                               Phases shall occur in such a way as to minimize the cost of extending utilities.

502.441	Submission

The developer shall apply for approval of a preliminary subdivision plat on the application form provided by the Department of Codes and Planning.  The completed application

shall be submitted to the Codes Administrator along  with the plat and the Plat                                                 Requirements Checklist in accordance with the requirements of  Section 503.  The preliminary plat shall be prepared by a registered engineer at a scale of not less than one hundred (100) feet per inch, and shall be on one or more sheets 24 x 36 inches in size. When preliminary plats are being submitted for development, the location of at least three  (3) physical monuments shall be labeled as to their State Plane Coordinate position expressed in U.S. Survey Feet based upon NAD 83 KY South Zone and all parcel lines

and street centerlines shall be geometrically tied to these  monuments.

502.442	Number of Copies

The developer shall submit fifteen (15) copies of the preliminary plat with required

construction drawings and supplementary information to the Codes Administrator

for distribution to the Technical Advisory Committee (TAC) and the Planning  Commission  for review and recommendations and copies of  construction plans to be submitted.

502.443	Plat Review

The TAC shall conduct a technical review of the plat and submit written comments to the

Planning  Commission at the Planning  Commission work session.  These comments will

focus on any concerns or conditions to be met in gaining approval that need to be addressed

regarding the plat. The Planning  Commission shall review the report of the TAC and shall

receive additional information at its regular work session.  The developer or an authorized

representative shall be present at the meeting to answer questions or provide additional

information.  The intent of the work session is to generate discussion and provide pertinent

information needed by the Planning  Commission in their decision-making process.  Any

conditions to be met in gaining approval shall be met before the plat can be voted on, with

any exceptions being determined by the Planning  Commission. Final consideration of the

proposed preliminary plat will normally be made during a Planning   Commission business                                 meeting (regular or special called). In determining whether a preliminary plat shall be

approved, the Planning  Commission shall consider the following:

(1)	Conformance with plat requirements.

(2)	Adequate infrastructure to support development, interconnection of proposed streets with existing or future streets, and location of all public and semi-public spaces and buildings to include parks, schools, homes, utilities, businesses and industries.

(3)	Distribution of population and traffic in a manner so as to create conditions

favorable to health, safety, convenience, efficiency, sustainability, and the harmonious  development of the community.

(4)	Comments from other agencies and officials.  Notice shall be given to other

local governments if the subdivision includes a street extending into their

jurisdiction.

(5)	Comments expressed by the public at the Planning  Commission meeting.

(6) 	Conservation/protection of natural resources.

Regarding highway access, a preliminary plat may receive conditional approval pending receipt of an access permit from the state highway department (if applicable).

502.444	Planning  Commission Action

Within sixty-five (65) days of the Planning  Commission business meeting on the preliminary  plat, the  Commission shall make one of the following decisions; 1) approve the plat, 2) approve the plat subject to conditions, 3) disapprove the plat, unless such time is extended  by agreement of the Planning  Commission and the developer, or 4) postpone taking action

for specific stated reasons up to thirty (30) additional days.  If the Planning  Commission finds that the preliminary plat does not meet the requirements of the regulations, it shall either

disapprove the plat or conditionally approve the plat, subject to specified revisions being

met within the 65 day period.   Approval of the preliminary plat by the Planning

Commission does not constitute final approval of the subdivision, but is merely an

authorization to proceed with the preparation of the final plat and construction of public

facilities.  In the event of a disapproval or conditional approval of the preliminary plat, a

statement in writing by the Planning  Commission setting forth the reasons for disapproval or

the conditions approval shall be entered into the records of the Planning  Commission. Any

conditions set for approval of the preliminary plat must be met within thirty (30) days of

conditional approval pursuant to the bylaws of the Planning  Commission.

502.445	Effective Period of Approval

At such time as a preliminary plat has been approved by the Planning   Commission, one copy    shall be returned to the developer for compliance with final approval requirements.

Such approval shall be effective for one (1) year from the date of approval.  During that                                    time, the general terms and conditions under which the preliminary plat was granted will not                              be affected by any changes to these regulations.  An extension of twelve (12) months may                                 be granted provided the developer submits a written request to the Planning  Commission                                  and it is approved.

502.446	Adjustment of Preliminary Plat Requirements

The Planning  Commission may waive a specific requirement of the plat requirements provided no waiver shall be granted which will have the effect of nullifying the intent and purpose of the regulations (see 502.1 (8)).  Economic hardship shall not be deemed a sufficient  basis for granting a waiver.  In granting any waiver, the  Commission shall attach such conditions as are necessary in its judgment to secure substantially the objectives of the requirements being adjusted.

Any waiver of these requirements shall be requested specifically in writing by the developer with reference to the particular section to be waived.  This request shall be accompanied by the submission of the preliminary plat and be entered in the minutes of the review meeting.

502.447	Amending the Preliminary Plat

If the developer desires to make a substantial change in a preliminary plat that has been approved by the Planning  Commission (such as in the number of lots, major realignment of streets, or use of previously dedicated property), an amended preliminary plat must be submitted in accordance with procedures previously described.

502.55	       Final Plat

The final plat serves as a plat of record for public recording and transfer of land, and as a

check to assure that subdivision requirements (including any conditions stipulated  in the

preliminary plat) have been met.  The final plat shall conform substantially to the preliminary

plat as approved, and it may constitute only a portion of the preliminary plat which the

developer proposes to develop and record.  No final plat shall be approved until at least

twenty-eight days following  the approval of the preliminary plat.  No final plat will be

reviewed by the Planning  Commission at the business meeting until the following on-site

improvements have been completed; 1) the roadbase, excluding the final 1 ½ inch surface

coat, 2) waterlines, 3) sanitary sewers, 4) drainage structures, 5) soil erosion control

measures, and 6) curbs and gutters.  In addition, any required off-site improvements must be

completed and as-built drawings provided.  See appendix “G’.

502.551 Submittal

Within one (1) year of approval of the preliminary plat, the developer shall file the final subdivision plat for review and action by the Planning  Commission.  Failure to submit the final plat within a year’s time shall require re-approval of the expired preliminary plat.  An extension of one (1) year may be granted provided the developer submits a written request to the Planning  Commission and it is approved.

The developer shall submit an application for final plat approval along with the plat requirements checklist to the Codes Administrator.  At the time of filing, a non-returnable filing fee shall be paid according to the fee schedule.  The final plat shall be prepared by a registered engineer or surveyor (as applicable), at a scale of not less than one hundred (100) ft. per inch on one or more sheets 24 x 36 inches in size.  In addition to hard copies, all final plats are to be submitted in digital format for G.I.S. mapping purposes only as provided for in the Berea G.I.S. Guidebook.

502.552 Number of Copies

Fifteen (15) copies of the final plat, together with any street profiles or other plans that may be required, shall be submitted to the Codes Administrator.

502.553 Plat Review

The Technical Advisory Committee shall review the final plat as to computations,                             certifications, monuments, and related items, to insure that all required improvements have               been completed to the satisfaction of City engineering standards.  The TAC shall submit a               written report to the Planning  Commission for their consideration in reviewing the plat.  In              case a  security bond, certified check, or irrevocable commercial letter of credit has been                  posted, the developer’s engineer shall provide a detailed breakdown of the individual

project development costs as well as the percentage of work completed on each                                                 improvement.  The developer’s engineer shall verify that the amount of the surety is

sufficient to cover the cost of required improvements yet to be completed.

502.554   Planning  Commission Action

Within forty-five (45) days after the review of the final plat, the Planning  Commission shall approve or disapprove the plat.  Failure of the Planning  Commission to act upon the this final plat within thirty-five (35) days shall be deemed approval of the plat.  If the plat is disapproved, the grounds of the disapproval shall be stated in the records of the Planning  Commission and the developer will be notified of the reasons for disapproval.  Approval by the Planning  Commission shall not constitute acceptance by the public of the dedication of any streets, other public way, or ground.  When streets have been constructed, inspected, and approved, the dedicated street or City  way shall be accepted for maintenance by the City within forty-five (45) days and shall be a public way for all purposes.

503	PLAT  REQUIREMENTS

The requirements for submission of preliminary (P), and final (F) plats are indicated on the requirements checklist that follows (X indicates not applicable):    								                                                                                                                                           P       F

1.	Name of the subdivision/dev. plan, date, label, type, graphic scale,	                         

north arrow, north at the top (or within 90 degrees of the top of

the page), acreage to be subdivided, current land use classification,

and purpose.

2.	Name, address, and telephone number of the property owner,			                  

subdivider (if other than the owner), and developer; written

permission by the owner of the land for (name) to represent the

owner at the Planning  Commission meeting.

3.	Name, address, and seal of the registered professional land surveyor	                         

or engineer responsible for preparation of the plat and supplementary

4.	Names of adjacent property owners of record (with deed book		                          

references) and abutting subdivisions and streets.

5.	Vicinity sketch map, at a scale of two thousand (2,000) feet per inch                            

or greater, showing the subject property and surrounding land within

within one-half (½) mile, and including existing roads with at least

one intersection of common reference, scale, north arrow, and an

outline of the subject property.  Boundary lines and streets in adjacent

subdivisions shall be shown, along with how they connect with streets

in the proposed subdivision, to assure the most advantageous

development.  Existing schools, parks, shopping centers and other

major facilities shall be shown.

6.	The proposed subdivision shall be shown at a scale of not more than                         

one hundred (100) feet per inch (except where sheet size is prohibitive).

Boundaries of the tract will be drawn showing all bearings and distances.

7.	The plat will show physical features such as streams, ponds, wooded	                       

areas, existing structures, and sink holes.

8.	Existing topographic contours at an interval of not greater than five (5)                       

feet shall be shown for the subject property.  Where topographic

conditions  warrant, a contour interval of two (2) feet may be required.

Contours shall be shown on all plats.                                                                                                      9.	If the property fronts on a state highway, obtain and submit with	                              		the plat, a properly signed State Highway Encroachment Permit.

10.       Location, dimensions, and names of existing streets, railroads,                                    		easements, municipal boundaries, or other public properties, and

significant features shall be shown within and adjacent to the

property, for a minimum distance of two hundred (200) feet.

11.       Location and capacities (if applicable) of existing sewers, fire		                              

hydrants, water mains, storm drains, and power transmission lines.

12.      Location, right-of-way, and pavement width of proposed streets;		                        

street lights, street signs, fire hydrants, utility and drainage

easements laid out according to sound planning principles.

13.       Radii of streets, points of curvature, lengths of arcs						                         

14.       Street names selected so as not to duplicate any other streets in		                         

Madison County.

15.      Layout of proposed parcels of land including dimension of lot lines,	                         

lot numbers, and front, side, and rear building setback lines.  Lots or

parcels shall be laid out according to sound planning principles.

16.       Designation an acreage of all parcels and areas to be used for non-	                          

residential purposes, including parcels reserved or dedicated for public

use and utility installations.  All such parcels shall be assigned parcel numbers.

17.       Location of monuments and pins which shall be placed at the			                          

intersection of street center lines, changes in street  direction, and the

intersections and angles of the subdivision boundary.

18.       Note indicating the lot number and area in square feet of the smallest                             

lot in the subdivision.

19.       Subdivision plats being submitted for commercial or industrial development			  	

shall include additional information as requested by the Planning  Commission.

20.     Approval from the Kentucky Division of Water and the City of Berea prior                     

to any construction or other activity in or along a stream that could in any way

obstruct flood flows.  Activities include reconstruction, fill, alterations of structures,

and the like.  No new residential structures may be constructed in a floodway,

nor shall anything be placed in a floodway that will cause any rise in base flood elevations.

SUPPLEMENTARY PLAT  REQUIREMENTS

The following items of information shall be submitted as a

supplement to the plat and considered to be a part of the plat (as

applicable).

1.	A copy of the appropriate completed subdivision application form.	    			      

2.	Description of physiographic characteristics to include soil types,	                              

slope, permeability rates, ground water, depth to bedrock,

sinkholes, flood frequency.

3.	Statement of deed restrictions and protective covenants, if any.	                              

4.	Typical street cross-sections showing roadbed construction, curbs,	                        

gutters, sidewalks, and relationship of underground utilities.

5.	Plans for providing domestic water supply.  The water system shall	                        

include a statement that there is an adequate water supply and

pressure to support the proposed development.

6.	Drainage/soil erosion control plan.  The developer shall indicate		                       

(on a supplemental attachment) the plan for controlling drainage

and soil erosion both during and upon completion of development.

The location and specifications of such controls as silt fences,

staked hay bales, detention/retention ponds, etc. shall be shown.

The drainage plan shall include contours, location and size of

culverts, location and specifications for detention/retention ponds

and other drainage structures, and calculations of runoff estimates

before and after development.  The plans require certification by a

local representative of the Natural Resources Conservation Service

Office. Erosion control measures are to be listed on the plat/plan and mus

be put in place in conjunction with initial site preparation activities.

7.  Certification on the plat showing that streets and utilities have been	                      

approved by the appropriate agencies and conform to general

requirements and minimum standards of design.  Property fronting

on a state or federal highway must receive approval from the State

Highway Department for ingress and egress.

8.  Certification on the plat showing that the applicant is the owner,		       	           

and a statement by the owner dedicating street rights-of-way, and

any other sites for public use.

9.  Certification on the plat by the a professional surveyor licensed			               

by the Commonwealth of Kentucky, as to the accuracy of the

survey of plat.

10. Certification by a professional engineer licensed by the 				      	         

Commonwealth of Kentucky that all improvements have been

constructed as shown on the final plat.  Any differences from the

final plat shall be reflected on a final set of as-built drawings.

11. Certification that the subdivider has complied with one of the 			                

following options:

a.  All the improvements have been installed in accordance with the

requirements of these regulations, or

b.  A security bond, certified check, or irrevocable letter of credit has

been posted with the Administrative Official in sufficient amount

to assure such completion of all required improvements.  The

amount sufficient for completion shall be determined by the

developer’s engineer.

12.   Certification on the plat by the Chairman of the Planning  Commission	                

that the plat has been approved for recording in the office of the County Clerk.